## Sheet1
Work Type | Type of Services | Problem Code | Active [5]* | Work Priority [300] | Display in public / tenant app(Y/N) [1] Display in QR | Work Order(Y/N) [1] | Qommunity Category [300] | Resident Display [300] >> Display to SP/Tenants in QR | Mixed Devt | Residential | Commercial | Industrial | Mixed Devt ( validation) | Residential (Validation | Commercial (validation) | Industrial (validation)
ACMV Services | Air-Conditioning | AHU faulty | Y | N | N | Y | Aircon | AHU faulty | X |  |  |  | N | N/A | N/A | N/A
ACMV Services | Air-Conditioning | Aircon insulation damaged/condensation | Y | N | N | Y | Aircon | Aircon insulation damaged/condensation | X | X | X | X | N | N | Y | N
My Unit | Finance | Account balance | Y | U | Y | Y | My Unit | Check my account balance |  | X |  |  | N/a | Y | N/A | N/A
ACMV Services | Air-Conditioning | Chemical dosing pump faulty | Y | N | N | Y | Aircon | Chemical dosing pump faulty | X |  |  |  | N | N/A | N/A | N/A
ACMV Services | Air-Conditioning | Chilled water expansion tank faulty | Y | N | N | Y | Aircon | Chilled water expansion tank faulty | X |  |  |  | N | N/A | N/A | N/A
ACMV Services | Air-Conditioning | Cooling tower faulty | Y | N | N | Y | Aircon | Cooling tower faulty | X |  |  |  | N | N/A | N/A | N/A
ACMV Services | Air-Conditioning | Exhaust/smell/smoky/fan faulty | Y | N | N | Y | Aircon | Exhaust/smell/smoky/fan faulty | X | X | X | X | N | N | Y | N
ACMV Services | Air-Conditioning | FCU faulty | Y | N | N | Y | Aircon | FCU faulty | X | X | X | X | N | N | Y | N
ACMV Services | Air-Conditioning | Mechanical Ventilation faulty | Y | N | N | Y | Aircon | Mechanical Ventilation faulty | X | X | X | X | N | N | Y | N
ACMV Services | Air-Conditioning | Aircon not cold | Y | N | Y | Y | Aircon | Aircon not cold | X | X | X | X | Y | Y | N | Y
ACMV Services | Chiller Plant/Room | Chilled water/makeup pumps faulty | Y | N | N | Y | Facilities | Chilled water/makeup pumps faulty | X |  | X | X | Y | N/A | Y | N
ACMV Services | Chiller Plant/Room | Chiller faulty | Y | N | N | Y | Facilities | Chiller faulty | X |  | X | X | N | N/A | N | Y
ACMV Services | Chiller Plant/Room | Cooling Towers faulty | Y | N | N | Y | Facilities | Cooling Towers faulty | X |  |  |  | N | N/A | N/A | N/A
ACMV Services | Chiller Plant/Room | CT-Chemical Dosing Pump faulty | Y | N | N | Y | Facilities | CT-Chemical Dosing Pump faulty | X |  |  |  | N | N/A | N/A | N/A
ACMV Services | Chiller Plant/Room | Electrical Panel/BAS faulty | Y | N | N | Y | Facilities | Electrical Panel/BAS faulty | X |  |  |  | N | N/A | N/A | N/A
ACMV Services | Chiller Plant/Room | Other Chiller Issues | Y | N | N | Y | Facilities | Other Chiller Issues | X |  | X | X | Y | N/A | N | Y
ACMV Services | Chiller Plant/Room | Piping leakage/condensation | Y | N | N | Y | Facilities | Piping leakage/condensation | X |  | X | X | N | N/A | Y | N
ACMV Services | Chiller Plant/Room | Pressure/Temperature Gauges faulty | Y | N | N | Y | Facilities | Pressure/Temperature Gauges faulty | X |  | X | X | N | N/A | Y | N
ACMV Services | Chiller Plant/Room | Pump/Gate Valve faulty | Y | N | N | Y | Facilities | Pump/Gate Valve faulty | X |  | X | X | N | N/A | Y | N
Building Services | Building Work | Building signages damage | Y | N | Y | Y | Building | Building signage damaged | X | X | X | X | N | N | Y | N
Systems | Security System | Autogate/access card/turnstile/barrier faulty | Y | N | N | Y | Security | Autogate/access card/turnstile/barrier faulty | X | X | X | X | Y | Y | N | Y
Building Services | Building Work | Ceiling or wall paint damaged | Y | N | Y | Y | Building | Ceiling or wall paint damaged | X | X | X | X | N | N | Y | N
Building Services | Building Work | Ceiling or wall stain/moisture/spalling | Y | N | Y | Y | Building | Building wall or ceiling dirty or damaged | X |  |  |  | N | N/A | N/A | N/A
Building Services | Building Work | Door cannot open/close properly | Y | N | Y | Y | Building | Door or door lock damaged | X | X | X | X | N | N | Y | N
Building Services | Building Work | Drain choke/cover missing | Y | N | Y | Y | Building | Drains choked or dirty | X | X | X | X | N | N | Y | N
Building Services | Building Work | Driveway/Curb/Road hump damaged/Dirty/Water ponding | Y | N | Y | Y | Building | Damage to driveway/curb/road/water ponding | X | X | X | X | N | N | Y | Y
Building Services | Building Work | Fence/Gate damage | Y | N | Y | Y | Building | Fence or gate damaged | X | X | X | X | N | N | Y | N
Building Services | Building Work | Floor crack/potholes | Y | N | Y | Y | Building | Flooring damaged | X | X | X | X | N | N | Y | N
Building Services | Building Work | Handrail rust/damaged | Y | N | Y | Y | Building | Handrail rusted/damaged | X | X | X | X | N | N | Y | N
Building Services | Building Work | Lamp post Lighting not working | Y | N | Y | Y | Building | Lamp post light not working | X | X | X | X | N | N | Y | Y
Building Services | Carpark | Barrier/Parking Guidance System/Socket/Light faulty | Y | N | N | Y | Carpark | Barrier/Parking Guidance System/Socket/Light faulty | X | X | X | X | Y | Y | N | N
Building Services | Building Work | Roof Leak | Y | N | Y | Y | Building | Building roof leak | X | X | X | X | N | N | Y | N
Building Services | Building Work | Tile chipped/debonded | Y | N | Y | Y | Building | Tile chipped/debonded | X | X | X | X | N | N | Y | N
Building Services | Building Work | Walkway/Gate/Fencing/Signages damaged | Y | N | Y | Y | Building | Damage to walkway/gate/fencing | X | X | X | X | N | N | Y | N
Building Services | Building Work | Wall/Window crack/seepage/damage | Y | N | Y | Y | Building | Wall/Window crack/seepage/damage | X | X | X | X | N | N | Y | Y
Facilities Related | BBQ Pit | BBQ Pit dirty/damaged | Y | N | Y | Y | Facilities | Damage or dirty BBQ pit | X | X |  |  | Y | Y | N/A | N/A
Building Services | Carpark | Kerb damaged | Y | N | Y | Y | Carpark | Kerb damaged | X |  |  |  | N | N/A | N/A | N/A
Building Services | Carpark | Line/painting and other finishes | Y | N | Y | Y | Carpark | Line/painting and other finishes | X | X | X | X | N | N | Y | N
Building Services | Carpark | Litter/Dirty/stains | Y | N | N | Y | Carpark | Litter/Dirty/stains | X | X | X | X | N | N | Y | Y
Building Services | Carpark | NETS Terminal and related issues | Y | N | Y | Y | Carpark | NETS Terminal and related issues | X | X | X | X | N | N | Y | N
Building Services | Building Work | Building Structures damaged | Y | N | N | Y | Building | Damage to building/structure | X | X | X | X | Y | Y | N | Y
Building Services | Carpark | Seepage/Water Ponding/Pot holes | Y | N | Y | Y | Carpark | Seepage/Water Ponding/Pot holes | X | X | X | X | N | N | Y | Y
Building Services | Carpark | System software/hardware faulty | Y | N | N | Y | Carpark | System software/hardware faulty | X |  |  |  | N | N/A | N/A | N/A
Building Services | Carpark | Unauthorised parking/Parking without valid label | Y | N | Y | Y | Carpark | Unauthorised parking/Parking without valid label | X |  |  |  | N | N/A | N/A | N/A
Building Services | Common Areas | Common Area Dirty/Litter/Stain | Y | N | Y | Y | Facilities | Dirt or litter in common areas | X | X | X | X | Y | Y | Y | Y
Building Services | Common Areas | Common Area Light faulty | Y | N | Y | Y | Facilities | Common Area Light faulty | X | X | X | X | N | N | Y | N
Building Services | Common Areas | Common Area Potholes/Ground Ponding/Crack | Y | N | Y | Y | Facilities | Damage to common area flooring | X | X | X | X | Y | Y | N | Y
Building Services | Common Areas | Common Lines Fading | Y | N | N | Y | Facilities | Common Lines Fading | X | X | X | X | N | N | Y | N
Other Services | Damages to properties | Common property | Y | N | N | Y | Building | Common property | X | X | X | X | Y | Y | N | Y
Building Services | Escalator/Travellator | Big Gaps (Gap> xxmm) | Y | N | N | Y | Lift & Lobby | Big Gaps (Gap> xxmm) | X | X | X | X | N | N | Y | N
M&E Services | M&E Work | DB connectors burnt | Y | N | N | Y | Lighting & Electrical | DB connectors burnt | X | X | X | X | Y | Y | N | Y
Building Services | Escalator/Travellator | Handrail damage | Y | N | N | Y | Lift & Lobby | Handrail damage | X | X | X | X | N | N | Y | N
Building Services | Escalator/Travellator | Noise/vibration/jerky movements | Y | N | N | Y | Lift & Lobby | Noise/vibration/jerky movements | X | X | X | X | N | N | Y | N
My Unit | Security | Disturbance from common areas | Y | U | Y | Y | My Unit | Disturbance from common areas |  | X |  |  | N/a | Y | N/A | N/A
Building Services | Lift/Lobby | Automatic Rescue Device (ARD) faulty | Y | N | N | Y | Lift & Lobby | Automatic Rescue Device (ARD) faulty | X |  |  |  | N | N/A | N/A | N/A
My Unit | Security | Disturbance from neighbouring units | Y | U | Y | Y | My Unit | Disturbance from neighbouring units |  | X |  |  | N/a | Y | N/A | N/A
Building Services | Lift/Lobby | Lift no ventilation | Y | N | Y | Y | Lift & Lobby | Lift no ventilation | X | X | X | X | N | N | Y | N
Building Services | Lift/Lobby | Lift not level/vibrate/noisy | Y | N | Y | Y | Lift & Lobby | Lift not level/vibrate/noisy | X | X | X | X | N | N | Y | N
Building Services | Lift/Lobby | Lift sensor faulty | Y | N | N | Y | Lift & Lobby | Lift sensor faulty | X | X | X | X | N | N | Y | N
M&E Services | M&E Work | Electrical isolators/sockets faulty | Y | N | N | Y | Lighting & Electrical | Electrical isolators/sockets faulty | X | X | X | X | Y | Y | N | Y
Building Services | Escalator/Travellator | Escalator/Travellator Breakdown | Y | N | N | Y | Lift & Lobby | Escalator/Travellator Breakdown | X | X | X | X | N | Y | N | Y
Facilities Related | Atrium Space/Event Space | Open Space faulty hanging mobile | Y | N | N | Y | Facilities | Open Space faulty hanging mobile | X |  |  |  | N | N/A | N/A | N/A
Facilities Related | Atrium Space/Event Space | Open Space socket/lighting faulty | Y | N | N | Y | Facilities | Open Space socket/lighting faulty | X |  | X | X | N | N/A | Y | N
Facilities Related | Atrium Space/Event Space | Open Space stain ceiling/dirty wall/floor | Y | N | N | Y | Facilities | Open Space stain ceiling/dirty wall/floor | X |  | X | X | N | N/A | N | Y
Facilities Related | Atrium Space/Event Space | Open Space table/chair/equipment/signboard missing or damaged | Y | N | N | Y | Facilities | Open Space table/chair/equipment/signboard missing or damaged | X |  | X | X | N | N/A | Y | N
Facilities Related | Atrium Space/Event Space | Open Space TV/screen/aircon/fan faulty | Y | N | N | Y | Facilities | Open Space TV/screen/aircon/fan faulty | X |  | X | X | N | N/A | Y | N
Facilities Related | Atrium Space/Event Space | Other atrium space/event space issues | Y | N | N | Y | Facilities | Other atrium space/event space issues | X |  | X | X | N | N/A | N | Y
Facilities Related | Auditorium/Function/Meeting Room etc | Common room faulty hanging mobile | Y | N | Y | Y | Facilities | Common room faulty hanging mobile | X |  |  |  | N | N/A | N/A | N/A
Facilities Related | Auditorium/Function/Meeting Room etc | Common room screen/aircon/fan/TV faulty | Y | N | Y | Y | Facilities | Common room screen/aircon/fan/TV faulty | X | X | X | X | N | N | Y | N
Facilities Related | Auditorium/Function/Meeting Room etc | Common room socket/lighting faulty | Y | N | Y | Y | Facilities | Common room socket/lighting faulty | X | X | X | X | N | N | Y | N
Facilities Related | Auditorium/Function/Meeting Room etc | Common room stain ceiling/dirty wall/floor | Y | N | Y | Y | Facilities | Common room stain ceiling/dirty wall/floor | X | X | X | X | N | N | N | Y
Facilities Related | Auditorium/Function/Meeting Room etc | Common room table/chair/equipment/signboard missing or damaged | Y | N | Y | Y | Facilities | Damage to common room | X | X | X | X | Y | N | Y | N
Horticulture Services | Garden/Landscape | Fallen plant/tree | Y | C | Y | Y | Garden & Landscape | Damaged plant or tree | X | X | X | X | Y | Y | N | Y
My Unit | Major Services Failure | Fault with electricity supply | Y | U | Y | Y | My Unit | Fault with electricity supply |  | X |  |  | N/a | Y | N/A | N/A
Facilities Related | BBQ Pit | BBQ Pit litter/stain/dirty/bin overflow | Y | N | Y | Y | Facilities | BBQ Pit litter/stain/dirty/bin overflow | X | X |  |  | N | N | N/A | N/A
Facilities Related | BBQ Pit | BBQ Pit socket/lighting faulty | Y | N | Y | Y | Facilities | BBQ Pit socket/lighting faulty | X | X |  |  | N | N | N/A | N/A
Facilities Related | BBQ Pit | BBQ Pit table/chair missing or damaged | Y | N | Y | Y | Facilities | BBQ Pit table/chair missing or damaged | X | X |  |  | N | N | N/A | N/A
Facilities Related | BBQ Pit | BBQ Pit water tap damaged | Y | N | Y | Y | Facilities | BBQ Pit water tap damaged | X | X |  |  | N | N | N/A | N/A
My Unit | Major Services Failure | Fault with water supply | Y | U | Y | Y | My Unit | Fault with water supply |  | X |  |  | N/a | Y | N/A | N/A
Facilities Related | Gym | Gym hanging mobile faulty | Y | N | Y | Y | Facilities | Gym hanging mobile faulty | X |  |  |  | N | N/A | N/A | N/A
Facilities Related | Gym | Gym screen/aircon/fan/TV faulty | Y | N | Y | Y | Facilities | Gym screen/aircon/fan/TV faulty | X | X |  |  | N | N | N/A | N/A
Facilities Related | Gym | Gym socket/lighting faulty | Y | N | Y | Y | Facilities | Gym socket/lighting faulty | X | X |  |  | N | N | N/A | N/A
Facilities Related | Gym | Gym stain ceiling/dirty wall/floor | Y | N | Y | Y | Facilities | Gym stain ceiling/dirty wall/floor | X | X |  |  | N | N | N/A | N/A
Systems | Fire Protection | Fire protection alarm/panel faulty | Y | N | N | Y | Others | Fire protection alarm/panel faulty | X | X | X | X | Y | Y | N | Y
Security Services | Security | Guards: improper attire/rude/sleep | Y | N | Y | Y | Security | Guards not on duty | X | X | X | X | Y | Y | N | Y
Facilities Related | Gym | Gym table/chair/equipment/signboard missing or damaged | Y | N | Y | Y | Facilities | Damage to gym equipment | X | X |  |  | Y | Y | N/A | N/A
Facilities Related | Playground | Playground equipment damaged | Y | N | Y | Y | Facilities | Damage to playground equipment | X | X |  |  | Y | N | N/A | N/A
Facilities Related | Playground | Playground ground ponding/potholes/damaged | Y | N | Y | Y | Facilities | Playground ground ponding/potholes/damaged | X | X |  |  | N | N | N/A | N/A
Systems | Fire Protection | Hosereel/jockey pump faulty | Y | N | N | Y | Others | Hosereel/jockey pump faulty | X | X | X | X | Y | Y | N | Y
Facilities Related | Playground | Playground socket/lighting faulty | Y | N | Y | Y | Facilities | Playground socket/lighting faulty | X | X |  |  | N | N | N/A | N/A
Facilities Related | Swimming Pool/Water Features | Filtration/sumersible pumps faulty/damaged | Y | N | N | Y | Facilities | Filtration/sumersible pumps faulty/damaged | X |  |  |  | N | N/A | N/A | N/A
Facilities Related | Swimming Pool/Water Features | Fountain/water feature faulty | Y | N | Y | Y | Facilities | Water feature faulty | X | X |  |  | N | N | N/A | N/A
Facilities Related | Swimming Pool/Water Features | Life buoy missing/damaged | Y | N | Y | Y | Facilities | Life buoy missing/damaged | X | X |  |  | N | N | N/A | N/A
Building Services | Lift/Lobby | Lift Door cannot close | Y | N | Y | Y | Lift & Lobby | Faulty lift door | X | X | X | X | Y | Y | N | Y
Facilities Related | Swimming Pool/Water Features | Pool deck furniture missing/damage | Y | N | Y | Y | Facilities | Poolside furniture damaged | X | X |  |  | N | N | N/A | N/A
Facilities Related | Swimming Pool/Water Features | Swimming pool/water feature lighting faulty (above or underwater) | Y | N | Y | Y | Facilities | Swimming pool/water feature lighting faulty (above or underwater) | X | X |  |  | N | N | N/A | N/A
Sanitary & Plumbing | Cleanliness | Lift/lift lobby Dirty/stain/rubbish | Y | N | Y | Y | Cleanliness | Lift or lift lobby is dirty/stained | X | X | X | X | N | Y | N | Y
Facilities Related | Swimming Pool/Water Features | Swimming pool/water feature with debonded tiles | Y | N | Y | Y | Facilities | Swimming pool/water feature with debonded tiles | X |  |  |  | N | N/A | N/A | N/A
Building Services | Lift/Lobby | Lift/Lobby light/Indicator/Button/Intercom/Lift sensor faulty | Y | N | N | Y | Lift & Lobby | Lift/Lobby light/Indicator/Button/Intercom/Lift sensor faulty | X | X | X | X | Y | Y | N | Y
Facilities Related | Tennis/basketball/outdoor courts etc | Outdoor Court fading lines | Y | N | Y | Y | Facilities | Outdoor court lines faded | X | X |  | X | N | N | N/A | N
M&E Services | Lighting | Light tubes blown | Y | N | Y | Y | Lighting & Electrical | Lights blown | X | X | X | X | N | Y | N | N
Facilities Related | Tennis/basketball/outdoor courts etc | Outdoor court litter/dirty/stain | Y | N | Y | Y | Facilities | Outdoor court dirty/stained/algae | X | X |  | X | N | N | N/A | N
Facilities Related | Tennis/basketball/outdoor courts etc | Outdoor court net/roller damaged | Y | N | Y | Y | Facilities | Outdoor court net/roller damaged | X | X |  | X | N | N | N/A | N
Facilities Related | Tennis/basketball/outdoor courts etc | Outdoor court socket/lighting faulty | Y | N | Y | Y | Facilities | Outdoor court light/light fitting faulty | X | X |  | X | N | N | N/A | N
Horticulture Services | Garden/Landscape | Algae/bald/long turf area | Y | N | Y | Y | Garden & Landscape | Landscaping | X | X | X | X | N | N | Y | N
Sanitary & Plumbing | Toilet | Litter/stain/dirty/not cleaned | Y | N | Y | Y | Sanitary & Plumbing | Common toilets dirty or smelly | X | X | X | X | Y | Y | N | Y
M&E Services | Electrical | No electrical Power supply to unit/house | Y | N | Y | Y | Lighting & Electrical | Disruption to electricity supply | X | X | X | X | N | Y | N | Y
Horticulture Services | Garden/Landscape | Overgrown plant/tree | Y | N | Y | Y | Garden & Landscape | Overgrown plant/tree | X | X | X | X | N | N | Y | N
Horticulture Services | Garden/Landscape | Soil erosion/sunken soil level | Y | N | Y | Y | Garden & Landscape | Soil erosion | X | X | X | X | N | N | Y | N
Horticulture Services | Garden/Landscape | Weeds | Y | N | Y | Y | Garden & Landscape | Weeds | X |  |  |  | N | N/A | N/A | N/A
Horticulture Services | Garden/Landscape | Withered Plant | Y | N | Y | Y | Garden & Landscape | Plants | X | X | X | X | N | N | Y | N
M&E Services | Electrical | No electrical power supply to socket outlet | Y | N | Y | Y | Lighting & Electrical | No electrical power supply to socket outlet | X | X | X | X | Y | N | Y | Y
Other Services | Leases | Operating hours | N | N | Y | Y | Others | Operating hours | X | X | X | X | N | Y | N | Y
ACMV Services | Air-Conditioning | Other aircon fault | Y | N | Y | Y | Aircon | Other aircon fault | X | X | X | X | Y | Y | N | Y
M&E Services | Lighting | Humming sound from light fitting | Y | N | Y | Y | Lighting & Electrical | Faulty light fitting | X | X | X | X | N | N | Y | N
M&E Services | Lighting | Lamp post faulty | Y | N | N | Y | Lighting & Electrical | Lamp post faulty | X | X | X | X | N | N | Y | N
Facilities Related | BBQ Pit | Other BBQ Pit issues | Y | N | Y | Y | Facilities | Other BBQ Pit issues | X | X |  |  | Y | Y | N/A | N/A
Building Services | Building Work | Other Building Issues | Y | N | Y | Y | Building | Other building issues | X | X | X | X | Y | Y | N | Y
M&E Services | M&E Work | BAS faulty - Chiller/FCC room | Y | N | N | Y | Lighting & Electrical | BAS faulty - Chiller/FCC room | X | X | X | X | N | N | Y | N
Sanitary & Plumbing | Cleanliness | Other cleanliness issue | Y | N | Y | Y | Cleanliness | Other cleanliness issue | X | X | X | X | Y | Y | N | Y
Building Services | Common Areas | Other Common Areas Issues | Y | N | Y | Y | Facilities | Other Common Areas Issues | X | X | X | X | Y | Y | N | Y
M&E Services | M&E Work | Electrical riser DB trip | Y | N | N | Y | Lighting & Electrical | Electrical riser DB trip | X | X | X | X | N | N | Y | Y
M&E Services | M&E Work | Electrical timers faulty | Y | N | N | Y | Lighting & Electrical | Electrical timers faulty | X | X | X | X | N | N | Y | N
M&E Services | M&E Work | Generator set oil leakeage/faulty | Y | N | N | Y | Lighting & Electrical | Generator set oil leakeage/faulty | X | X | X | X | N | N | Y | N
M&E Services | M&E Work | Lighting points faulty | Y | N | N | Y | Lighting & Electrical | Lighting points faulty | X | X | X | X | N | N | Y | N
M&E Services | M&E Work | Lightning strip/rod damaged | Y | N | N | Y | Lighting & Electrical | Lightning strip/rod damaged | X | X | X | X | N | N | Y | N
M&E Services | M&E Work | LT/HT switchroom trip | Y | N | N | Y | Lighting & Electrical | LT/HT switchroom trip | X | X | X | X | N | N | Y | N
M&E Services | M&E Work | MATV faulty | Y | N | N | Y | Lighting & Electrical | MATV faulty | X | X | X | X | N | N | Y | N
M&E Services | M&E Work | MDF room trip | Y | N | N | Y | Lighting & Electrical | MDF room trip | X | X | X | X | N | N | Y | N
Other Services | Criminal case (theft, shoplift, molest ..) | Other Criminal cases | Y | N | Y | Y | Others | Criminal activities | X | X | X | X | N | Y | N | Y
M&E Services | M&E Work | TAS riser trip | Y | N | N | Y | Lighting & Electrical | TAS riser trip | X | X | X | X | N | N | Y | N
Other Services | Damages to properties | Other damages | Y | N | N | Y | Building | Other damages | X | X | X | X | Y | Y | N | Y
M&E Services | Electrical | Other electrical Issues | Y | N | Y | Y | Lighting & Electrical | Other electrical issues | X | X | X | X | Y | Y | N | Y
Building Services | Escalator/Travellator | Other Escalator/Travellator Issues | Y | N | N | Y | Lift & Lobby | Other Escalator/Travellator Issues | X | X | X | X | Y | Y | N | Y
Other Services | Feedback | Other feedback | Y | N | N | Y | Others | Other feedback | X | X | X | X | Y | Y | Y | N
Systems | Fire Protection | Other fire protection Issues | Y | N | Y | Y | Others | Fire protection & safety equipment issues | X | X | X | X | Y | Y | N | Y
Horticulture Services | Garden/Landscape | Other garden/landscape issues | Y | N | Y | Y | Garden & Landscape | Other landscaping issues | X | X | X | X | Y | Y | N | Y
Facilities Related | Gym | Other Gym Issues | Y | N | Y | Y | Facilities | Other gym issues | X | X |  |  | Y | Y | N/A | N/A
Other Services | Miscellaneous | Other issues | Y | N | Y | Y | Others | Other issues | X | X | X | X | Y | Y | N | Y
Building Services | Lift/Lobby | Other Lift/Lobby Issues | Y | N | Y | Y | Lift & Lobby | Other lift or lobby issues | X | X | X | X | Y | Y | N | Y
M&E Services | Lighting | Other lighting Issues | Y | N | Y | Y | Lighting & Electrical | Other lighting issues | X | X | X | X | Y | Y | N | Y
Other Services | Criminal case (theft, shoplift, molest ..) | At Common Property | Y | N | Y | Y | Others | Other common area issues | X | X | X | X | N | N | N | Y
M&E Services | M&E Work | Other M&E Issues | Y | N | N | Y | Lighting & Electrical | Other M&E Issues | X | X | X | X | Y | Y | N | Y
Other Services | Criminal case (theft, shoplift, molest ..) | Tenant/Residential Unit | Y | N | Y | Y | Others | Criminal activities involving resident(s) | X | X | X | X | N | N | Y | N
Pest Control | Pest/Animals | Other pest or animal issues | Y | N | Y | Y | Pest & Animals | Other pest or animal issues | X | X | X | X | Y | Y | N | Y
Facilities Related | Playground | Other playground issues | Y | N | Y | Y | Facilities | Other playground issues | X | X |  |  | Y | Y | N/A | N/A
Other Services | Damages to properties | Tenant/resident unit | Y | N | N | Y | Building | Tenant/resident unit | X | X | X | X | N | N | N | N
Other Services | Injury to persons | Other safety Issues | Y | N | Y | Y | Others | Safety issues | X | X | X | X | Y | Y | N | Y
Other Services | Feedback | Public feedback | Y | N | N | Y | Others | Public feedback | X | X | X | X | N | N | Y | N
Sanitary & Plumbing | Sanitary Work | Other sanitary and plumbing issues | Y | N | N | Y | Sanitary & Plumbing | Other sanitary and plumbing issues | X | X | X | X | Y | Y | N | Y
Security Services | Security | Other security issues | Y | N | Y | Y | Security | Other security issues | X | X | X | X | Y | Y | N | Y
Other Services | Injury to persons | Tenant/Resident injured | Y | N | Y | Y | Others | Incident involving residents | X | X | X | X | Y | N | N | Y
Other Services | Injury to persons | Visitor/customer injured | Y | N | Y | Y | Others | Incident involving visitors | X | X | X | X | N | N | Y | N
Other Services | Leases | Encroachment/touting | N | N | Y | Y | Others | Encroachment onto corridor/common area | X | X | X | X | N | N | Y | N
Systems | Security System | Other security system Issues | Y | N | N | Y | Security | Other security system issues | X | X | X | X | Y | Y | N | Y
Other Services | Leases | Other leases related Issues | N | N | Y | Y | Others | Leasing related issues | X | X | X | X | N | N | N | N
Systems | Major Services Failure | Other services failure | Y | U | Y | Y | Services | Disruption to other services | X | X | X | X | Y | Y | N | Y
Other Services | Shuttle Bus | Shuttle bus aircon not cold/dripping | Y | N | Y | Y | Facilities | Shuttle bus aircon not cold/dripping | X |  |  |  | N | N/A | N/A | N/A
Other Services | Shuttle Bus | Shuttle bus passenger seat torn | Y | N | Y | Y | Facilities | Damage to shuttle bus interior/fittings | X |  |  |  | N | N/A | N/A | N/A
Other Services | Shuttle Bus | Shuttle bus tap card machine not working | Y | N | Y | Y | Facilities | Shuttle bus card reader faulty | X |  |  |  | N | N/A | N/A | N/A
Pest Control | Pest/Animals | Bee Hive | Y | N | Y | Y | Pest & Animals | Bee hive or wasp nest | X | X | X | X | N | N | Y | N
Pest Control | Pest/Animals | Irregular fogging | Y | N | Y | Y | Pest & Animals | Irregular fogging | X |  |  |  | N | N/A | N/A | N/A
Pest Control | Pest/Animals | Mosquitoes breeding ground | Y | N | Y | Y | Pest & Animals | Mosquitoes | X | X | X | X | N | N | Y | N
Facilities Related | Swimming Pool/Water Features | Other swimming pool/water features issues | Y | N | Y | Y | Facilities | Swimming pool issues | X | X |  |  | Y | Y | N/A | N/A
Facilities Related | Tennis/basketball/outdoor courts etc | Other Tennis/basketball/outdoor courts Issues | Y | N | Y | Y | Facilities | Damage or issue with courts | X | X |  | X | Y | Y | N/A | N
Pest Control | Pest/Animals | Snake/monkey/birds & etc | Y | N | Y | Y | Pest & Animals | Snakes/monkeys/birds | X | X | X | X | N | N | Y | N
Pest Control | Pest/Animals | Worms/caterpillars, etc | Y | N | Y | Y | Pest & Animals | Worms/caterpillars/centipedes | X | X | X | X | N | N | Y | N
Sanitary & Plumbing | Cleanliness | Bins overflow | Y | N | Y | Y | Cleanliness | Bins overflow | X | X | X | X | N | N | Y | N
Sanitary & Plumbing | Cleanliness | Cleaning equipment faulty | Y | N | N | Y | Cleanliness | Cleaning equipment faulty | X |  |  |  | N | N/A | N/A | N/A
Sanitary & Plumbing | Cleanliness | Floor not mopped | Y | N | Y | Y | Cleanliness | Floor needs to be mopped | X |  |  |  | N | N/A | N/A | N/A
Sanitary & Plumbing | Cleanliness | Floor wet/slippery/ponding | Y | N | Y | Y | Cleanliness | Floor is wet/slippery | X | X | X | X | Y | N | Y | Y
Sanitary & Plumbing | Toilet | Other toilet related issues | Y | N | Y | Y | Sanitary & Plumbing | Other issue with common toilets | X | X | X | X | Y | Y | N | Y
Sanitary & Plumbing | Cleanliness | Litter/Dirt/dust/cobweb/fallen leaves | Y | N | Y | Y | Cleanliness | Litter/dirty/dusty/cobweb/leaf litter | X | X | X | X | N | N | Y | N
Sanitary & Plumbing | Cleanliness | Odour | Y | N | Y | Y | Cleanliness | Odour | X | X | X | X | N | N | N | N
Facilities Related | Auditorium/Function/Meeting Room etc | Others auditorium/function/meeting room issues | Y | N | Y | Y | Facilities | Damage to function room | X | X | X | X | Y | Y | N | Y
Sanitary & Plumbing | Sanitary Work | Floor trap choke/overflow | Y | N | N | Y | Sanitary & Plumbing | Floor trap choke/overflow | X | X | X | X | N | N | Y | Y
Sanitary & Plumbing | Sanitary Work | Grease trap full/not clear | Y | N | N | Y | Sanitary & Plumbing | Grease trap full/not clear | X | X | X | X | N | N | Y | N
Sanitary & Plumbing | Sanitary Work | Low water pressure | Y | N | N | Y | Sanitary & Plumbing | Low water pressure | X | X | X | X | N | N | Y | N
Sanitary & Plumbing | Sanitary Work | Manhole choke | Y | N | N | Y | Sanitary & Plumbing | Manhole choke | X | X | X | X | N | N | Y | N
Building Services | Carpark | Others carpark issues | Y | N | Y | Y | Carpark | Carpark issues | X | X | X | X | Y | Y | N | Y
Facilities Related | Tennis/basketball/outdoor courts etc | Outdoor Court ground ponding/crack/potholes | Y | N | Y | Y | Facilities | Damage to courts flooring | X | X |  | X | Y | Y | N/A | N
Sanitary & Plumbing | Sanitary Work | Pump-transfer/booster/sump/ejector faulty | Y | N | N | Y | Sanitary & Plumbing | Pump-transfer/booster/sump/ejector faulty | X |  |  |  | N | N/A | N/A | N/A
Sanitary & Plumbing | Toilet | Basin/tap/flushing sensor faulty | Y | N | Y | Y | Sanitary & Plumbing | Basin/tap/flushing sensor faulty | X | X | X | X | N | N | Y | Y
Systems | Fire Protection | PA system faulty | Y | N | N | Y | Others | PA system faulty | X | X | X | X | Y | Y | Y | Y
Sanitary & Plumbing | Toilet | Mirror damage/stain | Y | N | Y | Y | Sanitary & Plumbing | Mirror damage/stain | X | X | X | X | N | N | Y | N
My Unit | Finance | Payment confirmation | Y | U | Y | Y | My Unit | To confirm receipt of my last payment |  | X |  |  | N/a | Y | N/A | N/A
Sanitary & Plumbing | Toilet | Toilet roll/hand soap empty | Y | N | Y | Y | Sanitary & Plumbing | Toilet roll/hand soap empty | X | X | X | X | N | N | Y | N
Sanitary & Plumbing | Toilet | WC cover/seat damage | Y | N | N | Y | Sanitary & Plumbing | WC cover/seat damage | X | X | X | X | N | N | Y | N
Sanitary & Plumbing | Toilet | WC/Floor trap choke | Y | N | N | Y | Sanitary & Plumbing | WC/Floor trap choke | X |  |  |  | N | N/A | N/A | N/A
Security Services | Security | CCTV | Y | N | N | Y | Security | CCTV | X |  |  |  | Y | N/A | N/A | N/A
Security Services | Security | Clocking device/points faulty | Y | N | N | Y | Security | Clocking device/points faulty | X |  |  |  | N | N/A | N/A | N/A
Security Services | Security | Disturbance at common area | Y | N | Y | Y | Security | Disturbance at common area | X | X | X | X | N | N | Y | N
Security Services | Security | Encroachment/obstruction | Y | N | N | Y | Security | Encroachment onto corridor/common area | X |  |  |  | N | N/A | N/A | N/A
Security Services | Security | Flyers distribution | Y | N | Y | Y | Security | Flyers distribution | X |  |  |  | N | N/A | N/A | N/A
Security Services | Security | Gantry barrier | Y | N | Y | Y | Security | Gantry barrier faulty | X |  |  |  | N | N/A | N/A | N/A
Security Services | Security | Guardhouse not manned | Y | N | Y | Y | Security | Guardhouse not manned | X | X | X | X | N | N | Y | N
Sanitary & Plumbing | Sanitary Work | Pipe burst/tap leak/choke | Y | N | Y | Y | Sanitary & Plumbing | Leaking or choked pipe | X | X | X | X | Y | Y | N | Y
Security Services | Security | Indiscriminate parking of bicycles | Y | N | Y | Y | Security | Indiscriminate parking of bicycles | X | X | X | X | N | N | Y | N
Facilities Related | Playground | Playground litter/dirty/stain | Y | N | Y | Y | Facilities | Playground litter/dirty/stain | X | X |  |  | N | Y | N/A | N/A
Security Services | Security | Phone calls not answered | Y | N | Y | Y | Security | Guards not answering calls | X | X | X | X | N | N | Y | N
Systems | Fire Protection | Fire door self-closing device faulty | Y | N | N | Y | Others | Fire door self-closing device faulty | X | X | X | X | N | N | Y | N
Systems | Fire Protection | Fire extinguisher expired | Y | N | N | Y | Others | Fire extinguisher expired | X | X | X | X | N | N | N | Y
Pest Control | Pest/Animals | Rodent/cockroaches/termites/ants | Y | N | Y | Y | Pest & Animals | Rodent/cockroaches/termites/ants | X | X | X | X | N | Y | N | Y
Systems | Fire Protection | Fire protection call points faulty | Y | N | N | Y | Others | Fire protection call points faulty | X | X | X | X | N | N | N | N
Systems | Fire Protection | Fire protection exit light faulty | Y | N | N | Y | Others | Fire protection exit light faulty | X | X | X | X | N | N | Y | N
Systems | Fire Protection | Hosereel not secured/wear and tear | Y | N | N | Y | Others | Hosereel not secured/wear and tear | X | X | X | X | N | N | Y | N
My Unit | Building Work | Seepage from external wall or window | Y | N | Y | Y | My Unit | Seepage at external wall or window |  | X |  |  | N/a | Y | N/A | N/A
My Unit | Building Work | Seepage from roof | Y | N | Y | Y | My Unit | Seepage at ceiling |  | X |  |  | N/a | Y | N/A | N/A
Systems | Fire Protection | Sprinkler pump faulty | Y | N | N | Y | Others | Sprinkler pump faulty | X | X | X | X | Y | Y | N | N
Systems | Fire Protection | Sprinkler control valve/solenoid faulty | Y | N | N | Y | Others | Sprinkler control valve/solenoid faulty | X | X | X | X | N | N | Y | N
My Unit | Finance | Statement of account | Y | N | Y | Y | My Unit | Request for latest statement of account |  | X |  |  | N/a | Y | N/A | N/A
Systems | Major Services Failure | Carparking system major failure | Y | U | Y | Y | Services | Carpark equipment issues | X |  |  |  | N | N/A | N/A | N/A
Systems | Major Services Failure | Fire | Y | C | Y | Y | Services | Fire | X | X | X | X | Y | N | Y | N
Systems | Major Services Failure | Mantrap in lifts | Y | C | Y | Y | Lift & Lobby | Trapped in lift | X | X | X | X | N | N | Y | N
Systems | Major Services Failure | No aircon supply | Y | U | Y | Y | Services | Disruption to aircon supply | X | X | X | X | N | N | Y | N
Systems | Major Services Failure | No electricity supply | Y | U | Y | Y | Services | Disruption to electricity supply | X | X | X | X | N | N | Y | N
Systems | Major Services Failure | No supply of water | Y | U | Y | Y | Services | Disruption to supply of water | X | X | X | X | N | N | Y | N
Facilities Related | Swimming Pool/Water Features | Swimming pool/water feature with algae/cloudy water | Y | N | Y | Y | Facilities | Water quality issue | X | X |  |  | Y | Y | N/A | N/A
Other Services | Feedback | Tenant/Resident feedback | Y | N | Y | Y | Others | Feedback on noise/smoke from neighbouring unit | X | X | X | X | N | Y | N | Y
Systems | Security System | CCTV/NVR faulty | Y | N | N | Y | Security | CCTV/NVR faulty | X | X | X | X | N | N | Y | N
Systems | Security System | Faulty cablings | Y | N | N | Y | Security | Faulty cablings | X | X | X | X | N | N | Y | Y
Systems | Security System | Intercom faulty | Y | N | N | Y | Security | Intercom faulty | X | X | X | X | N | N | Y | N
My Unit | Finance | Waiver of late payment interest | Y | U | Y | Y | My Unit | Waiver of late payment interest |  | X |  |  | N/a | Y | N/A | N/A
[13 empty] | 60 | 70 | 94 | 65
Note on H208: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Not available yet. Change to Others for import and setup. CS to re-configure when QM SCR is completed.